ORDINANCE NO. ___________

AN ORDINANCE OF THE MAYOR AND COUNCIL OF THE 				TOWN OF GILBERT, MARICOPA COUNTY, ARIZONA, 				STORM WATER POLLUTION PREVENTION

WHEREAS, federal and state regulations mandate the reduction of the discharge of pollutants to from our public storm drain system into receiving waters, waterways, and groundwater; and

WHEREAS, the town must comply with conditions of its National Pollutant Discharge Elimination System storm water permit; and

WHEREAS, it is necessary to prevent discharges that could cause or contribute to damage to the public storm drain system; and

WHEREAS, it is important to protect human health and the environment.

NOW, THEREFORE, BE IT ORDAINED BY THE MAYOR AND COUNCIL OF THE TOWN OF GILBERT, ARIZONA as follows:

Chapter 34

Article II Storm Water Pollution Prevention

Sec. 34-101 Purpose

This article sets forth the requirements for the control of pollutants that are or may be discharged to the public storm drain system.  The purpose of this article is to enable the Town to comply with all applicable state and federal laws, including but not limited to, the Clean Water Act (33 United States Code 1251 et seq.) and the National Pollutant Discharge Elimination System regulations (40 Code of Federal Regulations Part 122).

Sec. 34-102 Definitions

For the purposes of this article, the following words and terms shall be defined as follows:

Arizona Department of Environmental Quality or ADEQ means the Arizona state agency charged with enforcement of environmental laws and regulations.

Best Management Practices or BMPs means schedules of activities, prohibitions of practices, maintenance procedures, and other management practices to prevent or reduce the discharge of pollutants to storm water discharges. BMPs also include treatment requirements, operating procedures, and practices to control plant site runoff, spillage or leaks, sludge or waste disposal, or drainage from raw material storage.

Clean Water Act means the Federal Water Pollution Control Act, as amended, 22 United States Code 1251 et seq.

Director means the public works director.

Discharge means any spilling, leaking, pumping, pouring, emitting, emptying, injecting, placing, releasing, leaching, dumping, or disposing into or on any land in a manner that can cause pollution.

Environmental Protection Agency or EPA means the federal agency charged with enforcement of environmental laws and regulations.

National Pollutant Discharge Elimination System permit or NPDES storm water permit means a permit issued by EPA and/or ADEQ which authorizes the discharge of storm water pursuant to the Clean Water Act 402.

Person means any individual, partnership, co-partnership, firm, company, corporation, limited liability company, association, joint stock company, trust, estate, governmental entity, or any other legal; or their legal representatives, agents, or assigns.

Pollutant is defined at 40 CFR 122.2. A partial listing from this definition includes: any solid, liquid, gaseous, or other substance that can alter the physical or chemical properties of water including, but not limited to: fertilizers, solvents, sludge, petroleum and petroleum products, solid waste, garbage, biological materials, radioactive materials, sand, dirt, animal waste, acids, and bases.

Premises means any building, lot, parcel, real estate, or land or portion of land whether improved or unimproved including adjacent sidewalks and parking strips.

Public Storm Drain System means all or any part of the roads, streets, catch basins, curbs, gutters, ditches, man-made channels, storm drains, and dry wells located within public easements, right-of-way, parks, common areas, retention areas, or publicly-owned or maintained real property that are designed or used for collecting, holding, or conveying storm water.

Town means Town of Gilbert.

Sec. 34-103 Delegation of authority for administration and enforcement

The director of public works is delegated the authority to exercise the powers and perform the duties set forth in this article and to administer and enforce provisions of this article.  The director of public works may designate other employees to exercise such powers and perform such duties as he deems appropriate.

Sec. 34-104 Prohibition of non-storm water discharge to the public storm drain system; exceptions

- Unless expressly authorized or exempted by this article, no person shall cause or allow the discharge to a public right-of-way or public storm drain system of any substance that is not composed entirely of storm water.

- Unless expressly authorized or exempted by this article, no person shall use, store, spill, dump, or dispose of materials in a manner that those materials could cause or contribute to the addition of pollutants to storm water.

- The following discharges are exempt from the prohibition set forth in subsections (a) and (b) of this section:

  - The prohibition on discharge shall not apply to discharges authorized by a separate NPDES permit.

  - The following categories of non-storm water discharges are not prohibited:

    - Water line flushing,

    - Landscaping irrigation,

    - Diverted stream flows,

    - Rising groundwaters,

    - Uncontaminated groundwater infilitration,

    - Uncontaminated pumped groundwater,

    - Discharges from potable water sources,

    - Foundation drains,

    - Air conditioning condensate,

    - Irrigation water,

    - Springs,

    - Water from crawl space pumps,

    - Footing drains,

    - Lawn watering,

    - Individual residential car washing,

    - Discharges from riparian habitats and wetlands,

    - Dechlorinated swimming pool discharges,

    - Street wash water,

    - Discharges from emergency fire fighting activity,

    - Dust control watering; or

    - Any other activity that the director identifies are not a significant contributor of pollutants during the Town’s NPDES storm water permit term.

  - No person shall discharge to the public storm drain system any exempted discharge under this subsection if the director or assigned designee identifies and provides written notice to the person that the discharge has the potential to be a source of pollutants to receiving waters, waterways, or groundwater.

  - No person shall discharge to the public storm drain system that would result in or contribute to a violation of the NPDES storm water permit issued to the Town. Liability for any such discharge shall be the responsibility of the person causing or responsible for the discharge.

  - No person shall establish, use, maintain, or continue any connection to the public storm drain system which has caused or is likely to cause a violation of this section.  This prohibition is retroactive and shall apply to any connection that was made in the past, regardless of whether it was made under permit or other authorization, or whether it was permissible under the law or practices applicable or prevailing at the time of the connection.

Sec. 34-105 Operating facilities or activities

- All persons owning or operating premises or engaged in activities who are required by federal law to submit to EPA and/or ADEQ a Notice of Intent to comply with an NPDES storm water permit shall provide a copy of such notice to the director upon request.

- All persons engaged in activities which will or may reasonably be expected to result in pollutants entering the public storm drain system shall undertake best management practices to minimize such pollutants, shall provide protection from accidental discharge of pollutants to the public storm drain system and comply with the cleanup and notification requirements of this article.  Such measures shall include the requirements imposed by federal, state, county, or local authorities.

- If a best management practice is required by the director, the person receiving the notice of such a requirement may petition the director to reconsider the application of the BMP to the premises or activity. The written petition must be received within ten (10) working days setting forth any reasons and proposed alternatives.  The director will act within thirty (30) days of the petition.

Sec. 34-106 Construction Sites

- All persons engaged in construction activities who are required by federal law to submit to EPA and/or ADEQ a Notice of Intent to comply with an NPDES storm water permit, shall provide copies of the Notice of Intent, the NPDES storm water permit issued by EPA and/or ADEQ, and the Storm Water Pollution Prevention Plan, required by 40 CFR 122.

- Any person performing construction shall not cause or contribute to a violation of the NPDES storm water permit issued to the Town.  Liability for any such discharge shall be the responsibility of the person causing or responsible for the discharge.

- Any person performing construction shall undertake best management practices to minimize pollutants (including sediments) from leaving the construction site, shall provide protection from accidental discharge of pollutants to the public storm drain system, and comply with the cleanup and notification requirements of this article.  Such measures shall include the requirements imposed by federal, state, county or local authorities.

- If a best management practice is required by the director, the person receiving the notice of such a requirement may petition the director to reconsider the application of the BMP to the premises or activity. The written petition must be received within ten (10) working days setting forth any reasons and proposed alternatives.  The director will act within thirty (30) days of the petition.

Sec. 34-107 Post-Construction

- Property owners or operators shall ensure long-term operation and maintenance of post-construction storm water runoff control mechanisms, such as retention basins and dry wells.

Sec. 34-108 Cleanup and notification requirements

- As soon as any owner or operator has actual or constructive knowledge of any discharge which may result in pollutants entering the public storm drain system, such person shall promptly take all necessary steps to ensure the discovery of the source and the extent and proceed with containment and cleanup of such discharge.

- The owner or operator shall notify the director of the discharge in both of the following manners:

  - By telephone as soon as practical or by calling 9-1-1 if hazardous materials are involved; and

  - By written report identifying the discharge source, extent, pollutant, measures taken to mitigate the discharge, and preventative measures put in place to prevent a subsequent discharge.

Sec. 34-109 Inspections

- Authority to inspect.  Upon presentation of credentials and at all reasonable or necessary hours, all authorized employees of the Town shall have access to all premises and to all records pertaining to those premises for purposes of ensuring compliance with this article. Inspection, interviewing, copying, sampling, photographing, and other activities conducted on the premises shall be limited to those which are reasonably needed by the Town in determining compliance with the requirements of this article. All persons shall allow such activities under safe and nonhazardous conditions with a minimum of delay.

- Monitoring activities.  The director may order any person engaged in any activity or owning or operating on any premises which may cause or contribute to discharges of pollutants to the public storm drain system in violation of this article or any applicable NPDES storm water permit condition to undertake such monitoring activities and analyses and furnish such reports as the director reasonably may specify. The costs of such activities, analyses, and reports shall be borne by the recipient of the order.

- Right of entry.  If an authorized employee of the town has been refused access to any premises, and is able to demonstrate probable cause to believe that there may be a violation of this article, or that there is a need to inspect, interview, copy, photograph or sample as part of an inspection and sampling procedure of the Town designed to determine compliance with the requirements of this article or any related laws or regulations, or to protect the environment and the public health, safety and welfare of the community, then the director may seek issuance of a search warrant from the town municipal court.

Sec. 34-110 Enforcement and Penalties

- Charges levied pursuant to this article shall be collected by the department of public works. The director shall make and enforce economic and efficient management and protection of the town's storm drain system.

- Owner of record. The owner of record of the property upon which a violation of this article occurs shall be presumed to be a person having lawful control over the activity or premises unless it is demonstrated that another person has knowingly and in good faith accepted responsibility for the activity at issue. If more than one person is identified as the owner, such persons shall be presumed to be jointly and severally in lawful possession and control of the activity or premises.

- Notice of Violation.  The director may issue a written Notice of Violation to any person who has violated or is in violation of this article.  Failure to comply with any act required in the Notice of Violation shall be a separate violation for each day beyond the thirtieth (30th) day following the Notice of Violation. Nothing in this section shall limit the authority of the director to take any action, including emergency actions or any other enforcement action, without first issuing a notice of violation. In appropriate situations the director may notify the person orally either in person or by telephone prior to, and in some cases in lieu of, written notification.

- Consent orders. The director may enter into consent orders, assurances of voluntary compliance, negotiated settlement agreements or other similar documents establishing an agreement with any person responsible for noncompliance. Such documents will include specific action to be taken by the person to correct the noncompliance within a time period specified by the document, including an identification and description of the best management practices and measures to utilize in implementing the order. Such documents shall have the same force and effect as any other orders issued under this article and shall be judicially enforceable.

- Cease and desist orders.  When the director finds that a person has violated, or continues to violate, any provision of this article or any related laws or regulations, or that the person's past violations are likely to recur, the director may issue an order to the person directing them to cease and desist all such violations and direct the person to immediately comply with all requirements; and take such appropriate remedial or preventive action as may be needed to properly address a continuing or threatened violation.  Issuance of a cease and desist order shall not be a bar against, or a prerequisite for, taking any other action against the person. A person's failure to comply with an order of the director issued pursuant to this article shall constitute a violation of this article.

- Civil penalties. In addition to any other enforcement authority contained in this article, the director may issue a civil citation to any person who has violated, or continues to violate, any provision of this article or any related laws or regulations.  A person who violates any requirement of this article or any applicable NPDES Storm Water permit condition shall be civilly liable to the Town for a sum not to exceed $27,500 per day for each violation.

- Criminal penalties. A person who willfully or negligently violates any provision of this article, or any related laws or regulations shall, upon conviction, shall be guilty of a misdemeanor and upon conviction thereof shall be punished by a fine not to exceed $27,500 and/or by imprisonment in the town jail for a period not to exceed six months.

- Criminal prosecution. Some intentional violations may constitute criminal violations of federal, state, and town law, and that under such circumstances, the director may seek the assistance of the EPA, the State or the Town Prosecutor to commence civil and/or criminal action against any person who violates any requirement of this article or any applicable NPDES Storm Water permit condition.

- Revoking or withholding of permit. In addition to or in lieu of all other available penalties, the town may revoke or withhold any permit, approval or license to construct improvements to real property or operate a business in the town if the holder of such permit, approval, or license is in violation of any requirement of this article or any applicable NPDES Storm Water permit condition.

- Liability for costs.  The director may assess liability for costs to any person in violation of this article for all actual costs incurred by the town in surveillance, sampling and testing, abatement, and remediation associated with a discharge.  Additionally, the director may assess liability for costs to any person whose discharge resulted in a violation of the town’s NPDES Storm Water permit.

________________________

Cross references – Building and construction regulations, 10-311; utility operations, 66-1 et seq.; streets, sidewalks and other public places, 54-4; offenses and miscellaneous provisions, 42-1, 42-108, 42-231 et seq., and 42-251 et seq.

State Laws – Arizona Administrative Code R18-9-A901 et seq.

Federal Laws – 40 Code of Federal Regulations 122.34 (b) et seq.